## Takeoff
02-03-2023 | [7 empty] | Est. No: | 23-250 |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53
Estimator: | [7 empty] | Rev: | 1 |  |  |  | P1.00E2 | P1.00N1 | P1.00N2 | P1.00W1 | P1.01E2 | P1.01N2 | P1.01W1 | P1.01W2 | P1.02E1 | P1.02E2 | P1.02N1 | P1.02N2 | P1.02W1 | P1.02W2 | P1.03E1 | P1.03E2 | P1.03N1 | P1.03N2 | P1.03W1 | P1.03W2 | P1.04E1 | P1.04E2 | P1.04N1 | P1.04N2 | P1.04W1 | P1.04W2 | P1.05E1 | P1.05E2 | P1.05N1 | P1.05N2 | P1.05W1 | P1.05W2 | P1.06E1 | P1.06E2 | P1.06N1 | P1.06N2 | P1.06W1 | P1.06W2 | P1.07E1 | P1.07E2 | P1.07N1 | P1.07N2 | P1.07W1 | P1.07W2 | P1.08E2 | P1.08N1 | P108N1A | P1.08N2 | P1.08N2A | P1.08W1 | P1.08W2 | P1.09W1 | P6.06
MEDICAL GAS PIPELINE TAKE-OFF
PROJECT: | SOLDIERS HOME IN HOLYOKE LONG-TERM CARE FACILITY
LOCATION: | 110 CHERRY STREET HOLYOKE, MA 01040
BID DATE: | 2023-03-17
LEAD SOURCE:
DRAWINGS:
SPECS:
LAST UPDATE: | [6 empty] | Date: | 2023-01-10
WALL OUTLET - OHMEDA
Model | QTY | GAS
| 0 | OXY
| 0 | AIR
| 0 | VAC
| 0 | N2O
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 0
SLIDE
Model | QTY
0
TOTAL | 0
MRI WALL OUTLET
Model | QTY | GAS
| 0 | OXY
| 0 | AIR
| 0 | VAC
| 0 | N20
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 0
MRI SLIDE
Model | QTY
0
TOTAL | 0
CEILING OUTLET - DISS
Model | QTY | GAS
| 0 | OXY
| 0 | AIR
| 0 | VAC
| 0 | N20
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 0
HOSE
Model | QTY | GAS |  | LENGTH |  | FITTING 1 |  | FITTING 2
| 0 | OXY |  | 06" |  | DF
| 0 | AIR |  | 06" |  | DF
| 0 | VAC |  | 06" |  | DF
| 0 | N20 |  | 06" |  | DF
| 0 | WAG |  | 06" |  | DF
| 0 | CO2 |  | 06" |  | DF
| 0 | NIT |  | 06" |  | DF |  | DC
| 0 | INA |  | 06" |  | DF |  | DC
TOTAL | 0
RETRACTOR
Model | QTY
0
TOTAL | 0
AREA ALARM PANEL ETHERNET
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA
AAP-02-02, AAP-02-03, AAP-02-01,AAP-03-02, AAP-03-03, AAP-03-01,AAP-04-02, AAP-04-03, AAP-04-01,AAP-05-02, AAP-05-03, AAP-05-01,AAP-06-02, AAP-06-03, AAP-06-01,AAP-07-02, AAP-07-03, AAP-07-01,AAP-08-02, AAP-08-01 | 20 | X | X | X | bar: 10; 12; 14; 16; 18; 20; 22; 24; 26; 28; 30; 32; 34; 36; 38; 40; 42; 44 to 45; 51
0
0
0
0
TOTAL | 20
MASTER ALARM PANEL ETHERNET
Model | QTY | DESCRIPTION
| 2 | 40 POINT | bar: 1; 5
0
TOTAL | 2
ZONE VALVE BOX SENSOR SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-1-01 | 1 | 1/2" |  | 3/4" | [5 empty] | 1 | 0 | 1 | bar: 8
ZVB-02-02, ZVB-02-03, ZVB-02-01, ZVB-03-02, ZVB-03-03, ZVB-03-01, ZVB-04-02, ZVB-04-03, ZVB-04-01, ZVB-05-02, ZVB-05-03, ZVB-05-01, ZVB-06-02, ZVB-06-03, ZVB-06-01, ZVB-07-02, ZVB-07-03,ZVB-07-01, ZVB-08-01, ZVB-08-02 | 20 | 3/4" | 3/4" | 1" | [5 empty] | 40 | 0 | 20 | bar: 10; 12; 14; 16; 18; 20; 22; 24; 26; 28; 30; 32; 34; 36; 38; 40; 42; 44 to 45; 51
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 21
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 41 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 21 | Vacuum |  |  | VAC, WAG
TOTAL | 62
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
BALL VALVE - FULL PORT, LOCKING HANDLE & 2 GAUGE PORTS
Model | QTY | SIZE
| 54 | 1/2" | [10 empty] | 10: 2; 12: 2; 14: 4; 16: 2; 18: 2; 20: 4; 22: 2; 26: 4; 28: 2; 30: 2; 32: 4; 34: 2; 36: 2; 38: 4; 40: 4; 42: 2; 44: 4; 45: 2; 51: 4
| 120 | 3/4" | [10 empty] | 2: 0; 6: 3; 8: 1; 10: 3; 12: 5; 14: 8; 16: 5; 18: 4; 20: 8; 22: 5; 24: 6; 26: 8; 28: 5; 30: 5; 32: 8; 34: 5; 36: 5; 38: 8; 40: 3; 42: 5; 44: 8; 45: 4; 51: 8
| 58 | 1" | [10 empty] | 2: 1; 3: 0; 8: 2; 10: 1; 12: 2; 14: 3; 16: 2; 18: 3; 20: 3; 22: 2; 24: 3; 26: 3; 28: 2; 30: 2; 32: 3; 34: 2; 36: 2; 38: 3; 40: 2; 42: 3; 44: 3; 45: 3; 46: 1; 47: 0; 48: 1; 51: 6
| 14 | 1-1/4" | [10 empty] | 2: 0; 3: 2; 5: 2; 6: 2; 8: 4; 50: 1; 51: 1; 52: 2
| 7 | 1-1/2" | [10 empty] | 1: 3; 2: 2; 3: 1; 6: 1
| 5 | 2" | [10 empty] | 4: 3; 7: 1; 8: 1
| 0 | 2-1/2"
| 0 | 3" | [10 empty] | 2: 0
| 2 | 4" | [10 empty] | 2: 2
TOTAL | 260
BUTTERFLY VALVE
Model | QTY | SIZE
| 0 | 3"
| 0 | 4"
| 0 | 5"
| 0 | 6"
TOTAL | 0
[13 empty] | 3 | 5 | 3 | 3 | 2 | 6 | 1 | 8 | 0 | 6 | 0 | 9 | 0 | 15 | 0 | 9 | 0 | 9 | 0 | 15 | 0 | 9 | 0 | 9 | 0 | 15 | 0 | 9 | 0 | 9 | 0 | 15 | 0 | 9 | 0 | 9 | 0 | 15 | 0 | 9 | 0 | 10 | 0 | 15 | 9 | 1 | 0 | 1 | 0 | 1 | 19 | 2 | 0
CHECK VALVE
Model | QTY | SIZE
| 0 | 1/2"
| 0 | 3/4"
| 0 | 1"
| 0 | 1-1/4"
| 0 | 1-1/2"
| 2 | 2" | [10 empty] | 4: 2
| 0 | 2-1/2"
| 0 | 3"
| 0 | 4"
TOTAL | 2
PRESSURE CONTROL PANEL
Model | QTY | GAS
| 0 | NIT
| 0 | INA
TOTAL | 0
OXYGEN FILL STATION
Model | QTY | PRESSURE |  | SIZE |  | MOUNT
| 1 | OXY |  | 2" |  | RECESSED | bar: 4
TOTAL | 1
MANIFOLD w/ ACCESSORIES***
Model | QTY | GAS | DESCRIPTION
| 0 | OXY | 2X2 STAGGERED
| 0 | N2O | 2X2 STAGGERED
0
0
TOTAL | 0
***INCLUDES: GAUGES, HEADBAR BRACKETS AND MANIFOLD WALL/STAND BRACKETS
LIQUID MANIFOLD w/ RESERVE MANIFOLD (SIMPLEX) AND ACCESSORIES***
Model | QTY | GAS | SIZE | MAIN |  |  | RESERVE
0
TOTAL | 0
***INCLUDES: PRESSURE SWITCHES, ISOLATION VALVE, RELIEF VALVE, GAUGES, HEADER BAR BRACKETS AND MANIFOLD WALL/STAND BRACKETS
PRESSURE SWITCH w/ GAUGE***
Model | QTY | GAS | DESCRIPTION
| 2 | OXY | EOSC/BULK | [9 empty] | 4: 2
| 1 | AIR | SOURCE | bar: 52
| 1 | VAC | SOURCE | bar: 2
| 1 | INA | SOURCE | bar: 2
0
0
0
0
TOTAL | 5
***NIT/INA PS = 1 LOW + 1 HIGH
GENERAL PURPOSE REGULATOR
Model | QTY | GAS |  | SIZE
| 0 |  |  | 1/2
TOTAL | 0
Adder Option 1 -
AREA ALARM PANEL
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA
AAP-01-01 | 1 | X |  | X | bar: 8
0
0
0
0
TOTAL | 1
Adder Option 2 - MGO-01-01, MGO-01-02, MGO-01-03
WALL OUTLET -DISS
Model | QTY | GAS
| 12 | OXY | [10 empty] | 6: 2; 7: 10
| 12 | AIR | [10 empty] | 6: 2; 7: 10
| 12 | VAC | [10 empty] | 6: 2; 7: 10
| 0 | N2O
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 36
SLIDE
Model | QTY
12
TOTAL | 12
Adder Option 3 -
WALL OUTLET - DISS
Model | QTY | GAS
| 223 | OXY | [10 empty] | 53: 223
| 223 | AIR | [10 empty] | 53: 223
| 223 | VAC | [10 empty] | 53: 223
| 0 | N2O
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 669
SLIDE
Model | QTY
223
TOTAL | 223
Adder Option 4 - ADD ALTERNATE #2
BALL VALVE - FULL PORT, LOCKING HANDLE & 2 GAUGE PORTS
Model | QTY | SIZE
| 0 | 1/2"
| 0 | 3/4"
| 1 | 1" | bar: 47
| 0 | 1-1/4" | bar: 3; 8
| 0 | 1-1/2" | bar: 3
| 0 | 2"
| 0 | 2-1/2"
| 0 | 3" | bar: 2
| 0 | 4" | bar: 2
TOTAL | 1
ALternative Option 1 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-1-01 | 1 | 1/2" | 1/2" | 1" | [5 empty] | 2 | 0 | 1 | bar: 8
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 1
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 2 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 1 | Vacuum |  |  | VAC, WAG
TOTAL | 3
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 2 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-02-02, ZVB-02-03, ZVB-02-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 10; 12; 14
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 3 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-03-02, ZVB-03-03, ZVB-03-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 16; 18; 20
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 4 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-04-02, ZVB-04-03, ZVB-04-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 22; 24; 26
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 5 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-05-02, ZVB-05-03, ZVB-05-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 28; 30; 32
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 6 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-06-02, ZVB-06-03, ZVB-06-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 34; 36; 38
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 7 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-07-02, ZVB-07-03, ZVB-07-01 | 3 | 1/2" | 1/2" | 1" | [5 empty] | 6 | 0 | 3 | bar: 40; 42; 44
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 3
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 6 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 3 | Vacuum |  |  | VAC, WAG
TOTAL | 9
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
ALternative Option 8 -
ZONE VALVE BOX SENSOR
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-08-01, ZVB-08-02 | 2 | 1/2" | 1/2" | 1" | [5 empty] | 4 | 0 | 2 | bar: 45; 51
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 2
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 4 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 2 | Vacuum |  |  | VAC, WAG
TOTAL | 6
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
Full
Partial
Yes
No
Narrative
Budget
No
Other:
Contractor
Distributor
Bid Site
Inside Sales

## Change Log
Change Log:
Issue | Date | Rev # | Description | Drawings Revised

## Drawing Index
Drawing No. | Issue Date

## Sheet3
Estimators:
AB