## Takeoff
05-10-2023 | [7 empty] | Est. No: | 23-542
Estimator: | [7 empty] | Rev: | 0 |  |  |  | MG200
MEDICAL GAS PIPELINE TAKE-OFF
PROJECT: | NRHS OUH CANCER CENTER
LOCATION: | 3240 HEALTHLEX DR. NORMAN OK
BID DATE: | 2023-06-08
LEAD SOURCE:
DRAWINGS:
SPECS:
LAST UPDATE: | [6 empty] | Date: | 2023-05-05
WALL OUTLET - CHEMETRTON
Model | QTY | GAS
| 7 | OXY | [10 empty] | 7
| 0 | AIR
| 4 | VAC | [10 empty] | 4
| 0 | N2O
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 11
SLIDE
Model | QTY
4
TOTAL | 4
MRI WALL OUTLET
Model | QTY | GAS
| 0 | OXY
| 0 | AIR
| 0 | VAC
| 0 | N20
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 0
MRI SLIDE
Model | QTY
0
TOTAL | 0
CEILING OUTLET - DISS
Model | QTY | GAS
| 0 | OXY
| 0 | AIR
| 0 | VAC
| 0 | N20
| 0 | WAG
| 0 | CO2
| 0 | NIT
| 0 | INA
TOTAL | 0
HOSE
Model | QTY | GAS |  | LENGTH |  | FITTING 1 |  | FITTING 2
| 0 | OXY |  | 06" |  | DF
| 0 | AIR |  | 06" |  | DF
| 0 | VAC |  | 06" |  | DF
| 0 | N20 |  | 06" |  | DF
| 0 | WAG |  | 06" |  | DF
| 0 | CO2 |  | 06" |  | DF
| 0 | NIT |  | 06" |  | DF |  | DC
| 0 | INA |  | 06" |  | DF |  | DC
TOTAL | 0
RETRACTOR
Model | QTY
0
TOTAL | 0
AREA ALARM PANEL ETHERNET
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA
AAP-RN_1, AAP-RN_2 | 2 | XX |  | XX | [8 empty] | 2
0
0
0
0
TOTAL | 2
MASTER ALARM PANEL ETHERNET
Model | QTY | DESCRIPTION
| 1 | 20 POINTS | [10 empty] | 1
0
TOTAL | 1
ZONE VALVE BOX SENSOR PROVISION
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA | 100 | 300 | VAC
ZVB-RN_1, ZVB-RN_2, ZVB-RN_3, ZVB-RN_4 | 4 | 3/4" |  | 1" | [5 empty] | 4 | 0 | 4 | 4
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
| 0 | [8 empty] | 0 | 0 | 0
TOTAL | 4
GAUGES***
Model | QTY | TYPE |  |  | GASES
| 4 | 0-100 psi |  |  | OXY, AIR, N2O, CO2
| 0 | 0-300 psi |  |  | NIT, INA
| 4 | Vacuum |  |  | VAC, WAG
TOTAL | 8
***QTY DOES NOT TAKE INTO CONSIDERATION THOSE INCLUDED WITH MANIFOLDS/PRESSURE SWITCHES
BALL VALVE - FULL PORT, LOCKING HANDLE & 2 GAUGE PORTS
Model | QTY | SIZE
| 0 | 1/2"
| 0 | 3/4"
| 0 | 1"
| 1 | 1-1/4" | [10 empty] | 1
| 0 | 1-1/2"
| 0 | 2"
| 0 | 2-1/2"
| 0 | 3"
| 0 | 4"
TOTAL | 1
BUTTERFLY VALVE
Model | QTY | SIZE
| 0 | 3"
| 0 | 4"
| 0 | 5"
| 0 | 6"
TOTAL | 0
CHECK VALVE
Model | QTY | SIZE
| 0 | 1/2"
| 0 | 3/4"
| 0 | 1"
| 0 | 1-1/4"
| 0 | 1-1/2"
| 0 | 2"
| 0 | 2-1/2"
| 0 | 3"
| 0 | 4"
TOTAL | 0
PRESSURE CONTROL PANEL
Model | QTY | GAS
| 0 | NIT
| 0 | INA
TOTAL | 0
OXYGEN FILL STATION
Model | QTY | PRESSURE |  | SIZE |  | MOUNT
0
TOTAL | 0
MANIFOLD w/ ACCESSORIES***
Model | QTY | GAS | DESCRIPTION
M4D-DL-U-OXY | 1 | OXY | 3X3 STRAIGHT | [9 empty] | 1
| 0 | N2O | 2X2 STAGGERED
0
0
TOTAL | 1
***INCLUDES: GAUGES, HEADBAR BRACKETS AND MANIFOLD WALL/STAND BRACKETS
LIQUID MANIFOLD w/ RESERVE MANIFOLD (SIMPLEX) AND ACCESSORIES***
Model | QTY | GAS | SIZE | MAIN |  |  | RESERVE
0
TOTAL | 0
***INCLUDES: PRESSURE SWITCHES, ISOLATION VALVE, RELIEF VALVE, GAUGES, HEADER BAR BRACKETS AND MANIFOLD WALL/STAND BRACKETS
PRESSURE SWITCH w/ GAUGE***
Model | QTY | GAS | DESCRIPTION
| 1 | OXY | SOURCE | [9 empty] | 1
| 1 | VAC | SOURCE | [9 empty] | 1
| 0 | OXY | MANIFOLD
| 0 | N2O | MANIFOLD
0
0
0
0
TOTAL | 2
***NIT/INA PS = 1 LOW + 1 HIGH
GENERAL PURPOSE REGULATOR
Model | QTY | GAS |  | SIZE
| 0 |  |  | 1/2
TOTAL | 0
ALTERNATIVE Option 1 -
AREA ALARM PANEL ETHERNET
Model | QTY | OXY | AIR | VAC | N2O | WAG | CO2 | NIT | INA
AAP-RN_1, AAP-RN_2 | 2 | X |  | X | [8 empty] | 2
0
0
0
0
TOTAL | 2 | REMIOVED ONE 1 OXY AND 1 VAC SENSOR
Adder Option 1 -
BALL VALVE - FULL PORT, LOCKING HANDLE & 2 GAUGE PORTS
Model | QTY | SIZE
| 0 | 1/2"
| 1 | 3/4" | [10 empty] | 1
| 0 | 1"
| 0 | 1-1/4"
| 0 | 1-1/2"
| 0 | 2"
| 0 | 2-1/2"
| 0 | 3"
| 0 | 4"
TOTAL | 1
Adder Option 2 -
MASTER ALARM PANEL ETHERNET
Model | QTY | DESCRIPTION
| 1 | 20 POINTS | [10 empty] | 1
0
TOTAL | 1
Full
Partial
Yes
No
Narrative
Budget
No
Other:
Contractor
Distributor
Bid Site
Inside Sales

## Change Log
Change Log:
Issue | Date | Rev # | Description | Drawings Revised

## Drawing Index
Drawing No. | Issue Date

## Sheet3
Estimators:
AB